## Appendix F Key
Key to Appendix F Acronyms
| CRDM | Component Renewal Deferred Maintenance
| DM | Deferred Maintenance
| LMAC | Legislatively Mandated Code Compliance
| LMLS | Legislatively Mandated Life Safety
| RMDM | Recurring Maintenance Deferred Maintenance

## Appendix F
Asset Code | Asset Type Code | Work Subtype | Component | Sub-Component | Sub-Component Description | Work Order Title | QTY | UOM
252367 | 1300 | DM | Parking Area | Surfaces | Surfaces - Curb, concrete, 500 L.F., Employee Housing parking | Repair damaged curb | 30 | SF
82114 | 4100 | RMDM | Exterior | Exterior Walls | Exterior Walls - Rough Sawn Shake w/ Stud Backup, Wood Shakes, 2200 S.F., Exterior | Prep and refinish Exterior Walls | 2200 | SF
82114 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 200 amp, Panel A1, Store, front wall | Replace electrical panel | 1 | EA
82115 | 4100 | LMLS | HVAC | Heating Generating System | Heating Generating System - Gas, Modine, PD 75AA0181, 39011011005-1681, 75,000 BTUH, Back Room | Remove improperly stored materials | 1 | EA
82115 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Main Room | Remove improperly stored materials | 1 | EA
82115 | 4100 | LMLS | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - Interior Lighting, Fluorescent, 2L T5 Pendant, Back Room | Secure light fixture cords | 3 | EA
82116 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, >100 Amp, "House", Interior west wall | Replace electrical panels | 1 | EA
82116 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, 200 Amp, "Store", Interior west wall | Replace disconnect | 1 | EA
82116 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, >100 Amp, "Storage Shed", Interior west wall | Replace disconnect | 1 | EA
82116 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, >100 Amp, "Pass Through", Interior west wall | Replace disconnect | 1 | EA
82116 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - Interior Lighting, Incandescent, wall sconce, | Replace interior light fixture | 1 | EA
82116 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - Interior Lighting, Incandescent, explosion proof wall sconce, Interior west wall | Replace interior light fixture | 1 | EA
82116 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - Interior Lighting, Incandescent, ceiling surface mount, | Replace interior light fixture | 1 | EA
82116 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - Interior Lighting, FL - 2 Lamp T8, | Replace interior light fixtures | 2 | EA
82116 | 4100 | CRDM | Building / Structure Landscape | Fencing & Gates | Fencing & Gates - Fence/Privacy Wall - Wood, stockade fence, 27' long, 6' high, exterior | Replace Fencing & Gates | 27 | LF
82127 | 4100 | CRDM | Interior Finishes | Floor Finishes | Floor Finishes - Porcelain Tile, 1" x 1" tiles, Linen Room | Replace Floor Finishes | 550 | SF
82127 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Commercial, Gas - 200 MBH input, 192 GPH, Rheem Ruud, G100-200, A471412399, 199,900BTUH, 193.8GPH, 100 Gal. LP Gas., 1 Ea., Boiler Room | Secure water heater | 1 | LF
82127 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, "9", Boiler Room | Replace and relocate panel | 3 | EA
82127 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, "13", Boiler Room | Replace and relocate disconnect | 1 | EA
82127 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, < 30 Amp, "Crew Room Heater", Boiler Room | Replace and relocate disconnect | 1 | EA
82127 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 1264 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82128 | 4100 | DM | Roofing | Roof Covering | Roof Covering - Gutters, 250 L.F., Roof edges along side walls | Repair Roof Covering | 10 | SF
82128 | 4100 | RMDM | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 2'-'4" x 6'-8", Painted or coated, 2 - Bathrooms in hallway | Prep and refinish Interior Doors | 2 | EA
82128 | 4100 | RMDM | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 2'-8" x 6'-8", Painted or coated, Controller's Office, HR Office, Garage | Prep and refinish Interior Doors | 4 | EA
82128 | 4100 | RMDM | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 2'-8" x 6'-8" Dutch Door, Painted or coated, Front office facing main road, entry to smaller office. | Prep and refinish Interior Doors | 1 | EA
82128 | 4100 | RMDM | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 3'-6" x 6'-8", Painted or coated, Hallway closet | Prep and refinish Interior Doors | 1 | EA
82128 | 4100 | RMDM | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 3'-6" x 6'-8", Painted or coated, Server room | Prep and refinish Interior Doors | 1 | EA
82128 | 4100 | RMDM | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 2'-6" x 6'-8", Painted or coated, Employee Laundry Room Closet | Prep and refinish Interior Doors | 1 | EA
82128 | 4100 | CRDM | Interior | Fittings | Fittings - Laminated Plastic countertop, With room for drop basin, 49 L.F., Employee Kitchen | Replace Fittings | 98 | SF
82128 | 4100 | CRDM | Interior | Fittings | Fittings - Residential, Base Cabinet, 1 top drawer & 1 door below x 24" W, wood, Painted or coated, 10 Ea., Employee Kitchen | Replace Fittings | 20 | SF
82128 | 4100 | CRDM | Interior | Fittings | Fittings - Residential, Wall Mounted Cabinet, wood, 9 - 24" W doors, Painted or coated, 11 Ea., Employee Kitchen | Replace Fittings | 22 | SF
82128 | 4100 | RMDM | Interior Finishes | Wall Finishes | Wall Finishes - Paneling, plywood w/ veneer, Painted or coated, Hallway and front offices | Prep and refinish Wall Finishes | 1200 | SF
82128 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 1" Copper Tube, Various unit lengths, 100 L.F., Throughout building | Replace baseboard heating | 1 | EA
82128 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 225 amp, NQOD, Panel "2", Laundry Room | Move washer and dryer units | 1 | EA
82129 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Panel 1, Panel 2 and Panel 3, Lobby and Kitchen Serving Area | Replace electrical panels | 3 | EA
82129 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 200 amp, Emergency Panel(?), Attic, South End | Replace panel | 1 | EA
82129 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, 400 Amp, Lodge Main, unknown amperage, Kitchen | Replace disconnect | 1 | EA
82129 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, >100 Amp, Cutler Hammer, unknown amperage, Kitchen | Replace disconnect | 1 | EA
82129 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, >100 Amp, Cutler Hammer, unknown amperage, Kitchen | Replace disconnect | 1 | EA
82129 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Safety Switch, >100 Amp, Cutler Hammer Multi-Breaker, 100 A, Kitchen | Replace disconnects | 2 | EA
82129 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 9910 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82129 | 4100 | LMLS | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 9910 S.F., Throughout building | Install cover on junction box | 1 | EA
82132 | 4100 | DM | Superstructure | Roof Construction | Roof Construction - Truss/Joist - Wood, 1110 S.F., Roof structure | Repair Roof Construction | 1 | EA
82132 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0905A021196, 30 Gal, 2 Ea., Cabinet above closet | Secure the water heater | 1 | LF
82132 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 200 amp, Living Rooms | Replace electrical panels | 2 | EA
82132 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 630 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82133 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, M07A082198, 30 Gal., 1 Ea., "Twin" bedroom closet | Secure the water heater | 1 | LF
82133 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 4' Long, Throughout building | Replace baseboard heating | 4 | EA
82133 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 6' long, Living Room | Replace baseboard heating | 1 | EA
82133 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 2' long, Kitchen | Replace baseboard heating | 1 | EA
82133 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Main Breaker, Bedroom | Replace electrical panel | 1 | EA
82133 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 731 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82134 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, M07A082198, 30 Gal., 1 Ea., "Twin" bedroom closet | Secure the water heater | 1 | LF
82134 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 2' long, Kitchen | Replace baseboard heating | 1 | EA
82134 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 4' Long, Throughout building | Replace baseboard heating | 4 | EA
82134 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 6' long, Living Room | Replace baseboard heating | 1 | EA
82134 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Main Breaker, Bedroom | Replace electrical panel | 1 | EA
82134 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 731 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82135 | 4100 | CRDM | Superstructure | Floor Construction | Floor Construction - Column - Wood, 1220 S.F., front and rear deck support | Replace Floor Construction | 1 | EA
82135 | 4100 | RMDM | Exterior | Exterior Walls | Exterior Walls - Wood Cladding w/Stud Backup, cedar clapboard siding, Painted or coated, exterior walls | Prep and refinish Exterior Walls | 6000 | SF
82135 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 4' Long, Throughout building | Replace baseboard heating | 16 | EA
82135 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 6' long, Throughout building | Replace baseboard heating | 7 | EA
82135 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - Baseboard Heating - 10' long, Throughout building | Replace baseboard heating | 8 | EA
82136 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82136 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82136 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82137 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82137 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82137 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82138 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82138 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82138 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82139 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82139 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82139 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82140 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82140 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82141 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82141 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82142 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82142 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82143 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82143 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82143 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82144 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82144 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82144 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82145 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82146 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82146 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82146 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82147 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82147 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82148 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82148 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82148 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82149 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82149 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82150 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82150 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82150 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82151 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82151 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82152 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82152 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82152 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82153 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82153 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82153 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82154 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82154 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82154 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82155 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 0909A005457, 30 Gal., 1 Ea., Under kitchen counter | Secure the water heater | 1 | LF
82155 | 4100 | CRDM | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Kitchen | Replace electrical panel | 1 | EA
82155 | 4100 | CRDM | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 478 S.F., Throughout building | Replace Branch Wiring | 1 | EA
82156 | 4100 | LMAC | Exterior | Exterior Windows | Exterior Windows - Aluminum, 3'-0" x 2'-0", Bathroom window | Replace drapery wands | 3 | EA
82156 | 4100 | LMAC | Interior | Interior Partitions | Interior Partitions - Wall - Stud Framing, Metal Chimney, 520 L.F., Bathroom | Adjust shelf and rod in closet | 6 | SF
82156 | 4100 | LMAC | Interior | Interior Doors | Interior Doors - Wood Door/Wood Frame, 2'-8"x6'-8", Painted or coated, Bathroom Door | Replace door hardware on bathroom door | 1 | EA
82156 | 4100 | LMAC | Plumbing | Plumbing Fixture | Plumbing Fixture - Water closet, vitreous china, tank type, floor mount, Bathrooms | Add a grab bar | 1 | EA
82156 | 4100 | LMAC | Plumbing | Plumbing Fixture | Plumbing Fixture - Shower, built-in, 36"x60", Bathroom, Unit 40 | Add a seat and grab bar to the shower and replace faucet controls | 1 | EA
82156 | 4100 | LMAC | Parking Area | Surfaces | Surfaces - Concrete, 100 L.F., | Add handrails to the ADA ramp | 20 | SF
82157 | 4100 | RMDM | Exterior | Exterior Walls | Exterior Walls - Board & Batten, Painted or coated, Exterior | Prep and refinish Exterior Walls | 3360 | SF
82157 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630EOLS 100, 1520J004083, 28 Gal., 1 Ea., Loft, Unit 3 | Secure water heater | 1 | LF
82157 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Rheem, XE385065T45U1. M221617145, 38 Gal. , 1 Ea., Loft, Unit 4 | Secure water heater | 1 | LF
82157 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - 208-240 volt, 5 kW, Dining/Living areas | Replace electric heaters | 4 | EA
82157 | 4100 | LMLS | Electrical | Lighting & Branch Wiring | Lighting & Branch Wiring - General - receptacles, 2034 S.F., Throughout building | Install cover on junction box | 1 | EA
82158 | 4100 | RMDM | Exterior | Exterior Walls | Exterior Walls - Board & Batten, Painted or coated, Exterior | Prep and refinish Exterior Walls | 3360 | SF
82158 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Rheem, 82SV50-2, M301201336, 47 Gal., 1 Ea., Loft, Unit 7 | Secure water heater | 1 | LF
82158 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 630DOLS, 1412J01126, 30 Gal., 1 Ea., Loft, Unit 8 | Secure water heater | 1 | LF
82158 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - 208-240 volt, 5 kW, Dining/Living areas | Replace electric heaters | 4 | EA
82159 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, 40 Gal., 1 Ea., Closet, Unit 9 | Secure water heater | 1 | LF
82159 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 640DORT. 16243003118, 40 Gal., 1 Ea., Closet, Unit 10 | Secure water heater | 1 | LF
82159 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 6-T0-EORS 110, 16511D4336218, 50 Gal., 1 Ea., Closet, Unit 11 | Secure water heater | 1 | LF
82159 | 4100 | LMLS | Plumbing | Domestic Water Distribution | Domestic Water Distribution - Water Heaters, Residential, Electric, Reliance, 640DORT, C05A067742, 40 Gal., 1 Ea., Closet, Unit 12 | Secure water heater | 1 | LF
82159 | 4100 | CRDM | HVAC | Terminal & Package Unit | Terminal & Package Unit - 208-240 volt, 5 kW, Kitchens | Replace electric heaters | 4 | EA
82159 | 4100 | LMLS | Electrical | Electrical Service & Distribution | Electrical Service & Distribution - Main lugs, 120/208 V, 100 amp, NQOD, Living/Bedroom | Move the bed in Unit 9 | 1 | EA
82165 | 5700 | RMDM | Maintained Area | Gravel Area | Gravel Area - Unpaved, 40 S.Y., under propane tanks | Maintain the gravel areas | 40 | SF
82166 | 3100 | DM | Campground | Fencing & Gates | Fencing & Gates - Fence/Privacy Wall - Wood, Split rail fence, along beach cliff | Replace damaged fence | 20 | LF
82167 | 3100 | LMAC | Maintained Area | Gravel Area | Gravel Area - Unpaved, 310 S.Y., fire pit area and in front of Lodge | Move benches and enlarge gravel area around Fire Ring | 310 | SF
82169 | 1100 | RMDM | Roads | Surfaces | Surfaces - Aggregate, base, 1035 S.Y., Road to group campsite | Add gravel to roadway | 110 | SF